SECTION 07410 - PREFORMED METAL WALL PANELS

Items noted (in parenthesis and italic text) are optional

or variable depending on individual job conditions.

PART 1 - GENERAL

1.1 Description

A. Furnish and install all preformed metal wall panels and accessories, (including the structural subframing and/or light gauge metal framing support system), in accordance with the contract drawings and details to insure a weathertight system. Metal panel supplier shall be responsible for the design of the wall panel system, including, but not limited to, the anchorage details, sealant recommendations, extrusions, flashings, and expansion/contraction provisions for wall system, (and light gauge metal stud framing system), (and structural subframing).

B. Related work: not included as work or materials furnished in this section:

1. Structural Steel, Section 05 _______.

2. Light Gauge Metal Framing, Section 05 _______.

3. Miscellaneous Metals, Section 05 _______.

4. Insulation, Section 07 _______.

5. Metal Siding Panels, Section 07 _______.

6. Flashing and Sheet Metal, except as specifically noted herein, Section 07 ____.

7. Sealant, Section 09 _______.

8. Preformed Laminated Sunscreens, Section 10700

1.2 Quality Assurance

A. Industry Standards

1. Reference to ASTM standards shall mean the latest edition of those standards.

2. Any reference to specific manufacturers is not intended to restrict bidding but rather to establish a minimum standard of quality and offer clarification of panel profiles.  Manufacturers not listed must obtain the written approval of the architect a minimum of 10 days prior to the bid.  Such request for approval must be in accordance with paragraph 1.3 of this section and the general conditions.

B. Manufacturer

The manufacturer will be a firm regularly engaged in the fabrication of custom aluminum plate metal wall panel systems with a minimum of 5 years experience in the production of systems as specified herein.

C. Installation

1. The installer shall be an experienced erection firm licensed by or acceptable to the panel manufacturer.

2. Written approval of any subcontract erector must be received by the architect prior to the installation of any materials.

1.3 Pre-Bid Approval

A. The name of the manufacturer and/or installer must specifically be listed by the general contractor at the time of submission of the bid.

B. No bidder of the metal wall panel system will be accepted without the prior written approval of the architect based on submission of a mock-up illustrating the significant conditions of the project.

1. Scope of the mock-up must be closely coordinated with the architect.

2. Written approval of all bidders fulfilling these requirements shall be so noted by addendum.

1.4 Submittals

A. Submit copies of manufacturer's standard guide specifications, standard detail drawings and installation procedures.

B. Submit certified test reports verifying the performance requirements.

C. Submit product samples as directed by the project architect representative of materials to be furnished.

D. Submit shop drawings showing small scale layout and elevations of the total project.  Details shall include attachment to the support system, horizontal and vertical joints and their intersection, trim flashings, and all accessories.  Show details of weatherproofing at edges, termination, penetrations and connections to adjacent materials.

E. Submit mill certifications documenting that the physical properties of the metal used in the manufacturing of the panels meet the specified requirements.

1.5 Design Load

The wall panels (and framing) shall be designed for a minimum positive and negative wind loading at (20) PSF with a maximum allowable deflection of L/180.

PART 2 - PRODUCTS

2.1 Manufacturer

Provide AP-1125 Aluminum Plate Panels as manufactured by Protean Construction Products, Inc. of Burnsville, MN.  Phone: (952)895-4000 Fax: (952)895-1691.  www.protean.com

2.2 Panel System

The entire panel system shall be installed in accordance with the details illustrated on the contract drawings.  The vertical and horizontal joints shall be sealed through the use of exposed sealants as indicated.  The panels shall be positively attached to the building structure or subframe with concealed clips or tabs on the panel edges, as illustrated on the contract drawings.

2.3 Panel Assembly

A. The basic panel shall consist of custom fabricated solid aluminum plate, fabricated in thicknesses, lengths and widths as illustrated on the contract drawings.

B. The panel assembly shall be manufactured from .125" (minimum) aluminum plate tension leveled sheets in a smooth texture, confirming to ASTM B209, 3003 alloy, H14 temper.

C. All panel corners shall be welded and ground smooth prior to application of finish.

D. Extruded aluminum stiffeners shall be preattached to the panel assembly as required by design calculations to insure panel flatness and conformance with design loads. The attachment shall be made with aluminum studs welded to the backside of the panel through expansion slots in the stiffeners.

2.4 Finish

A. The exterior surfaces of the metal wall panels, flashings, extrusions, and all other exposed components shall be finished with a KYNAR (PVF), fluorocarbon finish with a total nominal dry film thickness of 1.0 mil.  Finish shall be applied in accordance with industry standards.

(For alternate finishes or more detailed specifications, refer to separate guide specification for insertion at this point.)

B. One manufacturer's standard (custom) color shall be selected by the architect.

C. All exposed surfaces shall be protected with a strippable coating.

1. The strippable coating shall be compatible with the exterior finish.

2. The strippable coating shall be removed by the erector immediately upon installation of the panels.

2.5 Accessories

A. Fasteners

1. All panels shall be positively attached to the structure through the use of concealed fasteners contained within the side joint of the assembly.

2. No exposed fasteners will be accepted, unless noted otherwise.

3. Fastener types and sizes shall be designed to resist negative & positive wind loads.

B. Extrusions

1. All extrusions noted in the contract documents as part of this section shall be fabricated as detailed.  Extruded components shall include but are not necessarily limited to; panel stiffeners, extruded trim, and panel edge assembly.

2. Where exposed to view, extrusions shall be finished to match the exterior skin.

3. The alloy of the extrusions should be determined by its intended use.  Such factors as corrosion resistance, machinability, formability, strength and weldability should be considered.  The alloy should be listed on the product standard die drawing.

C. Flashings

1. All flashings noted in the contract documents as part of this section shall be fabricated as detailed from materials matching the specifications for the face materials, unless noted otherwise.  The reverse side of all flashings shall be mill finished.

2. All flashings and extruded trim will be fabricated in 10'-0" or 12'- 0" lengths unless otherwise noted.  All inside and outside corner intersections shall be field mitered from standard flashing or extrusion lengths.

D. Sealants

All sealants shall be in accordance with the latest ASTM standards and shall comply with the sealant specifications of the contract documents.

E. Subgirts & Clips

Subgirts and clips shall be furnished as part of the scope of this work as noted on the contract drawings and as required to provide a complete wall panel assembly.  They shall be designed by the panel manufacturer to withstand the specified loads and shall typically be fabricated from mill finished, G90 galvanized steel, unless otherwise noted.

2.6 Light Gauge Steel Stud Framing System

(If the light gauge steel stud framing system is included as part of the scope of this section of work, refer to separate guide specification for insertion at this point.)

PART 3 - PERFORMANCE REQUIREMENTS

3.1 Performance Testing - The Panel Assembly

A. Structural

Structural designs shall have been verified by witnessed uniform load deflection tests in accordance with ASTM specification E-330, the standard test method for structural performance of exterior curtainwalls by uniform static air pressure difference.  Standard test design loading shall be 40 pounds per square foot as a positive and negative wind load and a deflection limit of L/180.

B. Water Penetration

Water penetration of panel assembly shall have been tested in accordance with ASTM specification E-331, the standard test method for water penetration of curtain walls by uniform static air pressure difference.  The test assembly when subjected to a water spray of five gallons per square foot and a static pressure of 6.24 PSF shall have no uncontrollable water on the inside surface of the building.

C. Air Infiltration

Air infiltration of the panel assembly shall have been tested in accordance with ASTM specification E-283, the standard test method for the rate of leakage through curtain walls.  The test assembly shall not exceed .06 cubic feet per minute per square foot of wall area at a pressure differential of 6.24 PSF.

3.2 Dimensional and Flatness Criteria

A. Panels shall have a flatness criteria not to exceed 0.1875" in 24" in any direction.  Using a straight edge, no point shall be more that 0.1875" away from the straight edge between two points of contact.

B. Normal dimensional tolerances shall be as follows:

Length & Width	+/- 0.032" up to 48"

+/- 0.064" over 48"

Diagonal	+/- 0.1875"

PART 4 - EXECUTION

4.1 Installation

A. Comply with panel manufacturer's instruction for assembly, installation and erection of preformed metal panels.  Install in accordance with approved shop drawings.

B. Anchor component parts securely in place, providing for necessary thermal and structural movement.

C. Examine structure and surfaces for defects that would prevent proper installation of the wall system.  Report any discrepancies to the architect and contractor.  Do not proceed until the situations have been corrected.

D. Field weld support members in accordance with AWS D1.1.

E. All fasteners shall be installed in accordance with the materials specification above.

F. Erection of the panels must be started correctly and the panels held true to line.  Horizontal lines are to be straight and level and vertical lines plumb.  Tolerance is to be +/- 1/8" in 10 feet.

G. Isolate dissimilar materials in accordance with acceptable industry practices and as recommended by panel manufacturer.

4.2 Cleaning

Clean exterior exposed surfaces of work promptly after completion of installation.  Comply with recommendations of panel and coating manufacturer.

4.3 Damaged Panels

Repair or replace any and all metal panels and trim that have been damaged upon determination of responsibility.

ALTERNATE SPECIFICATION OPTIONS

At specifier's option, the following alternatives may

be selected in lieu of the above standard options.

1. For most applications, Protean recommends the use of .125" aluminum plate; however alternate material thicknesses are also available.  If an alternate material thickness is preferred:

*Delete the word ".125" “in paragraph 2.3/B and substitute ".090" " or ".1875" ".

2. The above specifications are for materials, which are coated with KYNAR or some other type of paint finish.  If the materials are to be anodized, make the modifications noted below.  Specifier should be aware that the welded corners and other areas of the panel will accept the anodized finish differently than the aluminum plate.

*Delete the words "3003 alloy, H14 temper"" in paragraph 2.3/B and substitute "5005 AQ alloy, H32 temper."

*Delete paragraph 2.4 in its entirety and substitute the separate guide specification.

3. Protean recommends the backup stud framing support system to be furnished and installed as part of the scope of this work.  If specifier concurs, make the following modification:

*Delete paragraph 2.6 in its entirety and substitute the separate guide specification.