SECTION 10700 - PREFORMED LAMINATED SUNSCREENS

Items noted (in parenthesis and italic text) are optional

or variable depending on individual job conditions.

PART 1 - GENERAL

1.1 Description

A. Furnish and install all preformed laminated sunscreens consisting of metal-faced, factory laminated honeycomb blades, custom extruded bullnoses, extruded support retainers, accessories, and fin assemblies, as required; in accordance with the contract drawings and details to insure a structurally sound system.  Sunscreen supplier shall be responsible for the design of the complete system, including, but not limited to, the blade assembly, support retainers, extrusions, anchorage details, sealants, and expansion/contraction provisions of the system.

B. Related work: not included as work or materials furnished in this section:

1. Structural Steel, Section 05 _______.

2. Light Gauge Metal Framing, Section 05 _______.

3. Miscellaneous Metals, Section 05 _______.

4. Preformed Laminated Metal Wall Panels, Section 07410.

5. Metal Siding Panels, Section 07 _______.

6. Flashing and Sheet Metal, except as specifically noted herein, Section 07 _____.

7. Sealant, Section 09 _______.

1.2 Quality Assurance

A. Industry Standards

1. Reference to ASTM and ICBO standards shall mean the latest edition of those standards.

2. Any reference to specific manufacturers is not intended to restrict bidding but rather to establish a minimum standard of quality and offer clarification of panel profiles.  Manufacturers not listed must obtain the written approval of the architect a minimum of 10 days prior to the bid.  Such request for approval must be in accordance with paragraph 1.3 of this section and the general conditions.

B. Code Approvals

The panel component of the blade assembly shall have ICBO and MEA approvals.  Approval of individual components does NOT constitute compliance with this requirement.

C. Manufacturing and Fabrication

1. The manufacturer will have an existing Quality Assurance/Quality Control program which must include quarterly unannounced inspections by an independent Quality Control Agency approved by ICBO.  Inspections shall be performed in accordance with an ICBO approved inspection program.

2. The program records and manufacturing facilities will be open for auditing and inspection during the course of the project.

D. Installation

1. The installer shall be an experienced erection firm licensed by or acceptable to the sunscreen manufacturer.

2. Written approval of any subcontract erector must be received by the architect prior to the installation of any materials.

1.3 Pre-Bid Approval

A. The name of the manufacturer and/or installer must specifically be listed by the general contractor at the time of submission of the bid.

B. No bidder of the sunscreen system will be accepted without the prior written approval of the architect based on submission of a mock-up illustrating the significant conditions of the project.

1. Scope of the mock-up must be closely coordinated with the architect.

2. Written approval of all bidders fulfilling these requirements shall be so noted by addendum.

1.4 Submittals

A. Submit copies of manufacturer's standard guide specifications, standard detail drawings and installation procedures.

B. Submit certified test reports verifying the performance requirements.

C. Submit product samples as directed by the project architect representative of materials to be furnished.

D. Submit shop drawings showing small scale layout and elevations of the total project.  Details shall include attachment of the support retainers to the structural system, blade composition, horizontal and vertical intersection, and all accessories.  Show details of weatherproofing at edges, termination, penetrations and connections to adjacent materials.

E. Submit mill certifications documenting that the physical properties of the metal used in the manufacturing of the sunscreens meet the specified requirements.

1.5 Design Load

The sunscreen system shall be designed for a minimum positive and negative wind loading at (20) PSF with a maximum allowable deflection of L/180.

PART 2 - PRODUCTS

2.1 Manufacturer

Provide SS-300 Sunscreens as manufactured by Protean Construction Products, Inc. of Burnsville, MN.  Phone: (952)895-4000 Fax: (952)895-1691.  www.protean.com

2.2 Sunscreen System

The sunscreen system shall consist of blades as described below attached to the building structure with extruded support retainers.  Additionally, where indicated on the contract drawings, the decorative and/or support fin assemblies shall be furnished as described below as components to the system.

2.3 Blade Assembly

A. The basic sunscreen blade shall consist of metal skins laminated to a honeycomb core, in thicknesses, lengths and widths as illustrated on the contract drawings.  The skin profiles shall be as illustrated, allowing for both exterior skins and the bullnose assembly to be factory unitized through the use of concealed bullnose retainers positively attached to both skins for a composite assembly in accordance with ICBO requirements.   There shall be NO exposed core on any sides or edges of the panel.

B. The panel component of the blade assembly shall be laminated on a dead level platen in a vacuum press for a period of time sufficient to cure the thermo-setting adhesive.  Under NO circumstances, shall blades that are laminated with a pinch roller or a stacked type of system be acceptable.

C. Exterior Face

The exterior face skins shall be manufactured from 22 gauge, G90 galvanized steel sheets in a smooth texture, conforming to ASTM A446, Grade A (minimum) with a minimum yield of 33,000 PSI, then galvanized in accordance with ASTM A525 or 22 gage, GalvalumeTM  steel sheets in a smooth texture, confirming to ASTM A792, Grade CQ.

D. Core Material

The core material shall be a structural kraft paper honeycomb section, with a minimum phenolic resin impregnation of 15% by weight.  The maximum cell size shall be 1/2".

E. Adhesive

1. The adhesive system shall be manufacturer's standard thermo-setting type adhesive, approved for application in sandwich panel construction per ICBO requirements.

2. Under NO circumstances, will contact types of adhesives be acceptable.

2.4 Extrusions

A. Aluminum extruded bullnoses and bullnose retainers shall be used to finish sunscreen edges, produced to the same depth and finished to match the panel skins.  Bullnose profiles shall be as noted on the contract drawings.  The bullnose assembly shall be designed in conjunction with the sunscreen panels and shall be factory assembled for a composite blade assembly.

B. Extruded support retainers shall be designed in conjunction with and finished to match the sunscreen blades to provide adequate support and means of positive attachment to the building structure as a complete assembly.

C. The extrusion wall thickness, as a component of the sunscreen system shall be designed in compliance with the loading and deflection requirements specified herein.

D. All extrusions shall be compatible with the total sunscreen assembly and provide support to meet the design loads and make allowance for thermal and structural movement.

E. All extrusions shall be fabricated as detailed and if exposed finished to match the exterior skin.

F. All extrusions will be formed in lengths equal to the entire length or width of the blade or the associated component, unless otherwise noted.  All inside and outside corners intersections exposed to view shall be factory mitered.

G. The alloy of the extrusions should be determined by its intended use.  Such factors as corrosion resistance, machinability, formability, strength and weldability should be considered.  The alloy should be listed on the product standard die drawing.

2.5 Fin Assembly

A. Where indicated on the contract drawings decorative and/or support fin assemblies shall be furnished as described below as components to the system.

B. Fin assembly shall be factory fabricated from laminated components and extrusions as described above and/or solid aluminum plate as described below.

C. Where indicated on the contract documents; the sidewalls of the fin assembly shall be constructed from aluminum plate fabricated as illustrated on the contract drawings.  The fin sidewalls shall be manufactured from .125" (minimum) aluminum plate tension leveled sheets in a smooth texture, confirming to ASTM B209, 3003 alloy, H14 temper.  Fin sidewalls shall be attached to the fin assemblies through the use of countersunk screws.

2.6 Finish

A. The exterior face skins, extrusions, fin assemblies and all other exposed components shall be finished with a KYNAR (PVF), fluorocarbon finish with a total nominal dry film thickness of 1.0 mil.  Finish shall be applied at manufacturer's option, either by coil coating or spray painting in accordance with industry standards.

(For alternate finishes or more detailed specifications, refer to separate guide specification for insertion at this point.)

B. One manufacturer's standard (custom) color shall be selected by the architect.

C. The non-exposed side of the exterior face skin shall be finished with a special primer compatible with the manufacturer's standard adhesive.

D. The exposed side of the exterior face skin shall be protected with a strippable coating.

1. The strippable coating shall be compatible with the exterior finish.

2. The strippable coating shall be removed by the erector immediately upon installation of the sunscreens.

2.7 Accessories

A. Fasteners

1. All blade retainers shall be positively attached to the structure through the use of concealed fasteners contained within the assembly.

2. Exposed fasteners shall be kept to a minimum and shall be countersunk stainless screws finished to match the blades, unless otherwise noted.

3. Fastener types and sizes shall be designed to resist negative & positive wind loads.

B. Sealants

All sealants shall be in accordance with the latest ASTM standards and shall comply with the sealant specifications of the contract documents.

PART 3 - PERFORMANCE REQUIREMENTS

3.1 Performance Testing - The Blade Assembly

A. Structural

Structural designs shall have been verified by witnessed uniform load deflection tests in accordance with ASTM specification E-330, the standard test method for structural performance of exterior curtainwalls by uniform static air pressure difference.  Standard test design loading shall be 20 pounds per square foot as a positive and negative wind load and a deflection limit of L/180.

B. Weathering

Weathering of the complete panel assembly shall have been tested in accordance with ASTM specification D-2247.  The panel shall show no evidence of delamination of the facing and core when subjected to 100% humidity at 100 degrees for 1000 hours.

C. Fire Testing

The complete panel assembly shall have been successfully tested in accordance with ASTM E84 Steiner tunnel test and certified to comply with the following characteristics:

Flame Spread Index	5 or less

Smoke Developed Index	5 or less

D. Dimensional and Flatness Criteria

1. The panel component of the blade assembly shall have a flatness criteria not to exceed 1/16" in 18" in any direction.  Using a straight edge, no point shall be more that 1/16" away from the straight edge between two points of contact.

2. Normal dimensional tolerances of the blade assembly shall be as follows:

Length	+/- 1/16"

Width	+/- 1/16"

Diagonal	+/- 1/8"

3.2 Performance Testing - Adhesive

A. The adhesive shall have been tested in accordance with ASTM E84.

B. The adhesive shall be tested at a temperature of 225 degrees F to determine that the shear values are not affected at this service temperature.

PART 4 - EXECUTION

4.1 Installation

A. Comply with sunscreen manufacturer's instruction for assembly, installation and erection of sunscreen system.  Install in accordance with approved shop drawings.

B. Anchor component parts securely in place, providing for necessary thermal and structural movement.

C. Examine structure and surfaces for defects that would prevent proper installation of the sunscreen system.  Report any discrepancies to the architect and contractor.  Do not proceed until the situations have been corrected.

D. Field weld support members in accordance with AWS D1.1.

E. All fasteners shall be installed in accordance with the materials specification above.

F. Erection of the sunscreen system must be started correctly and the entire assembly held true to line.  Horizontal lines are to be straight and level and vertical lines plumb.  Tolerance is to be +/- 1/8" in 10 feet.

4.2 Cleaning

Clean exterior exposed surfaces of work promptly after completion of installation.  Comply with recommendations of the sunscreen and coating manufacturers.

4.3 Damaged Materials

Repair or replace any and all sunscreen components that have been damaged upon determination of responsibility.

ALTERNATE SPECIFICATION OPTIONS

At specifier's option, the following alternatives may

be selected in lieu of the above standard options.

1. Protean recommends the use of 22 gauge face skins, however alternate gauge skins are also available.  If alternate gauge face skins are preferred:

*Delete the word "22 gauge" in paragraph 2.3/C and substitute "24 gauge" or "20 gauge".

2. If aluminum skins are to be substituted in lieu of the standard steel skins, make the following modifications to the specifications above:

*Delete paragraph 2.3/C in its entirety and substitute the following:

The exterior face shall be manufactured from .040" (.050", .063") aluminum, tension leveled sheets in a smooth texture, confirming to ASTM B209, 3003 alloy, H14 temper.

3. Protean recommends the use of smooth textured face skins; however embossed skins are also available.  If embossed face skins are preferred:

*Delete the words "smooth" in paragraph 2.3/C and substitute "embossed".

4. If aluminum honeycomb core is to be substituted in lieu of the standard Kraft paper honeycomb core, make the following modifications to the specifications above:

*Delete paragraph 2.3/D in its entirety and substitute the following:

The core material shall be a commercial-grade aluminum honeycomb section, 3000 Series, perforated and kerfed, with a minimum foil thickness of 0.003".  An organic coating shall be applied to the foil to provide for corrosion resistance.  The aluminum structural honeycomb shall have a maximum cell size of 3/4", in thickness as shown on the contract documents, with a thickness tolerance of +/- 0.008".

*Modify paragraph 3.1/C as follows:

Change the Smoke Developed Index from 5 or less to 0.